## Day 1 Test Plan
Date | Start Time (EST) | Stop Time (EST) | Total Test Time (hh:mm) | GEMINI Operator Name | Facility Operator Name | ACTIONS / STATUS | Filename | Converted Filename | Procedure/HV log | Test Objective | Foil | North Deflector Voltage (V) | South Deflector Voltage (V) | MCP Voltages (V) | IS Pressure (Torr) | IT Pressure (Torr) | Focus 1 | Focus 2 | Emission current (mA) | Ext (%) | Px (mm) | Py (mm) | Wien Filter Plate Potential | Energy | Ion Source Energy & Species | Helmholtz Coil Voltage (V) | Helmholtz Coil Current (A) | Helmholtz Coil Status (On/Off) | Rotational Stage (Axis 2) (deg) | Linear Stage (Axis 3) | BM Status | SC Gate Valve | MC Gate Valve | Science Chamber Pressure (Torr) | Main Chamber Pressure (Torr) | Beamline Gate Valve | Comments
[7 empty] | GFL0 | GEMINI_p1000_FirstLight |  | First Light | None | 0 | 0 | [11 empty] | 1 keV p+ |  |  | On | 0 | 0
[7 empty] | p1 | GEMINI_p1000_N |  | 1 keV p+ Angular Scattering Baseline | None | 1084 | -1084 | [11 empty] | 1 keV p+ |  |  | On | 0 | 0
[7 empty] | p2 | GEMINI_p1000_C |  | 1 keV p+ Carbon Angular Scattering | 1.1 ug/cm^2 | 1084 | -1084 | [11 empty] | 1 keV p+ |  |  | On | 54.12 | 0
[7 empty] | p3 | GEMINI_p1000_G |  | 1 keV p+ Graphene Angular Scattering | Graphene | 1084 | -1084 | [11 empty] | 1 keV p+ |  |  | On | -54.12 | 0
[7 empty] | p4 | GEMINI_p1250_N |  | 1.25 keV p+ Angular Scattering Baseline | None | 1355 | -1355 | [11 empty] | 1.25 keV p+ |  |  | On | 0 | 0
[7 empty] | p5 | GEMINI_p1250_C |  | 1.25 keV p+ Carbon Angular Scattering | 1.1 ug/cm^2 | 1355 | -1355 | [11 empty] | 1.25 keV p+ |  |  | On | 54.12 | 0
[7 empty] | p6 | GEMINI_p1250_G |  | 1.25 keV p+ Graphene Angular Scattering | Graphene | 1355 | -1355 | [11 empty] | 1.25 keV p+ |  |  | On | -54.12 | 0
[7 empty] | p7 | GEMINI_p1500_N |  | 1.5 keV p+ Angular Scattering Baseline | None | 1626 | -1626 | [11 empty] | 1.5 keV p+ |  |  | On | 0 | 0
[7 empty] | p8 | GEMINI_p1500_C |  | 1.5 keV p+ Carbon Angular Scattering | 1.1 ug/cm^2 | 1626 | -1626 | [11 empty] | 1.5 keV p+ |  |  | On | 54.12 | 0
[7 empty] | p9 | GEMINI_p1500_G |  | 1.5 keV p+ Graphene Angular Scattering | Graphene | 1626 | -1626 | [11 empty] | 1.5 keV p+ |  |  | On | -54.12 | 0
[7 empty] | p10 | GEMINI_p750_N |  | 750 eV p+ Angular Scattering Baseline | None | 813 | -813 | [11 empty] | 750 eV p+ |  |  | On | 0 | 0
[7 empty] | p11 | GEMINI_p750_C |  | 750 eV p+ Carbon Angular Scattering | 1.1 ug/cm^2 | 813 | -813 | [11 empty] | 750 eV p+ |  |  | On | 54.12 | 0
[7 empty] | p12 | GEMINI_p750_G |  | 750 eV p+ Graphene Angular Scattering | Graphene | 813 | -813 | [11 empty] | 750 eV p+ |  |  | On | -54.12 | 0
[7 empty] | p13 | GEMINI_p_500_N |  | 500 eV p+ Angular Scattering Baseline | None | 542 | -542 | [11 empty] | 500 eV p+ |  |  | On | 0 | 0
[7 empty] | p14 | GEMINI_p_500_C |  | 500 eV p+ Carbon Angular Scattering | 1.1 ug/cm^2 | 542 | -542 | [11 empty] | 500 eV p+ |  |  | On | 54.12 | 0
[7 empty] | p15 | GEMINI_p500_G |  | 500 eV p+ Graphene Angular Scattering | Graphene | 542 | -542 | [11 empty] | 500 eV p+ |  |  | On | -54.12 | 0
[6 empty] | Disconnect Deflector Plates from HVPS. Connect North Deflector to small blue LVPS | e1 | GEMINI_p1000_N_e |  | 500 eV p+ Secondary Electron Baseline | None | 5 | 0 | [11 empty] | 500 eV p+ |  |  | On | 0 | 0
[7 empty] | e2 | GEMINI_p1000_C_e |  | 500 eV p+ Carbon Secondary Electron | 1.1 ug/cm^2 | 5 | 0 | [11 empty] | 500 eV p+ |  |  | On | 54.12 | 0
[7 empty] | e3 | GEMINI_p1000_G_e |  | 500 eV p+ Graphene Secondary Electron | Graphene | 5 | 0 | [11 empty] | 500 eV p+ |  |  | On | -54.12 | 0
[7 empty] | e4 | GEMINI_p1250_N_e |  | 750 eV p+ Secondary Electron | None | 5 | 0 | [11 empty] | 750 eV p+ |  |  | On | 0 | 0
[7 empty] | e5 | GEMINI_p1250_C_e |  | 750 eV p+ Carbon Secondary Electron | 1.1 ug/cm^2 | 5 | 0 | [11 empty] | 750 eV p+ |  |  | On | 54.12 | 0
[7 empty] | e6 | GEMINI_p1250_G_e |  | 750 eV p+ Graphene Secondary Electron | Graphene | 5 | 0 | [11 empty] | 750 eV p+ |  |  | On | -54.12 | 0
[7 empty] | e7 | GEMINI_p1500_N_e |  | 1 keV p+ Secondary Electron Baseline | None | 5 | 0 | [11 empty] | 1 keV p+ |  |  | On | 0 | 0
[7 empty] | e8 | GEMINI_p1500_C_e |  | 1 keV p+ Carbon Secondary Electron | 1.1 ug/cm^2 | 5 | 0 | [11 empty] | 1 keV p+ |  |  | On | 54.12 | 0
[7 empty] | e9 | GEMINI_p1500_G_e |  | 1 keV p+ Graphene Secondary Electron | Graphene | 5 | 0 | [11 empty] | 1 keV p+ |  |  | On | -54.12 | 0
[7 empty] | e10 | GEMINI_p750_N_e |  | 1.25 keV p+ Secondary Electron Baseline | None | 5 | 0 | [11 empty] | 1.25 keV p+ |  |  | On | 0 | 0
[7 empty] | e11 | GEMINI_p750_C_e |  | 1.25 keV p+ Carbon Secondary Electron | 1.1 ug/cm^2 | 5 | 0 | [11 empty] | 1.25 keV p+ |  |  | On | 54.12 | 0
[7 empty] | e12 | GEMINI_p750_G_e |  | 1.25 keV p+ Graphene Secondary Electron | Graphene | 5 | 0 | [11 empty] | 1.25 keV p+ |  |  | On | -54.12 | 0
[7 empty] | e13 | GEMINI_p_500_N_e |  | 1.5 keV p+ Secondary Electron Baseline | None | 5 | 0 | [11 empty] | 1.5 keV p+ |  |  | On | 0 | 0
[7 empty] | e14 | GEMINI_p_500_C_e |  | 1.5 keV p+ Carbon Secondary Electron | 1.1 ug/cm^2 | 5 | 0 | [11 empty] | 1.5 keV p+ |  |  | On | 54.12 | 0
[7 empty] | e15 | GEMINI_p500_G_e |  | 1.5 keV p+ Graphene Secondary Electron | Graphene | 5 | 0 | [11 empty] | 1.5 keV p+ |  |  | On | -54.12 | 0

## Day 1 Testing
Date | Start Time (EST) | Stop Time (EST) | Total Test Time (hh:mm) | GEMINI Operator Name | Facility Operator Name | Filename | Converted Filename | ACTIONS / STATUS | Test Objective | Count Rate (Hz) | Counts (n) | Dwell Time (s) | Foil | North Deflector Voltage (V) | South Deflector Voltage (V) | MCP Voltages (V) | Rotational Stage (Axis 2) (deg) | Linear Stage (Axis 3) | IS Pressure (Torr) | IT Pressure (Torr) | Focus 1 | Focus 2 | Emission current (mA) | Ext (%) | Px (mm) | Py (mm) | Wien Filter Plate Potential | Energy | Ion Source Energy & Species | Helmholtz Coil Voltage (V) | Helmholtz Coil Current (A) | Helmholtz Coil Status (On/Off) | BM Status | SC Gate Valve | MC Gate Valve | Science Chamber Pressure (Torr) | Main Chamber Pressure (Torr) | Beamline Gate Valve | Comments
2026-04-23 |  | 11:16 |  | WJL | JSR | FL01 | 260423_p_1000_0_N |  | First light data with "0" V on Deflector Plates | 7.7 | 231 | 30 | None | 39 | -37 | 1800 | 0 | 0 |  |  | 800 | 0 |  | 92 | -4 | 1.75 | 157.5 | 1 keV | 1 keV p+ | 5.69 | 0.43 | On
2026-04-23 |  | 11:23 |  | WJL | JSR | FL02 | 260423_p_1000_250_N |  | First light data with +/- 250 V on Deflector Plates | 12.2 | 366 | 30 | None | 250 | -250 | 1800 | 0 | 0 |  |  | 800 | 0 |  | 92 | -4 | 1.75 | 157.5 | 1 keV | 1 keV p+ | 5.69 | 0.43 | On
2026-04-23 |  | 11:26 |  | WJL | JSR | FL03 | 260423_p_1000_500_N |  | First light data with +/- 500 V on Deflector Plates | 41.27 | 1238 | 30 | None | 500 | -500 | 1800 | 0 | 0 |  |  | 800 | 0 |  | 92 | -4 | 1.75 | 157.5 | 1 keV | 1 keV p+ | 5.69 | 0.43 | On
2026-04-23 |  | 11:31 |  | WJL | JSR | FL04 | 260423_p_1000_750_N |  | First light data with +/- 750 V on Deflector Plates | 65.97 | 1979 | 30 | None | 750 | -750 | 1800 | 0 | 0 |  |  | 800 | 0 |  | 92 | -4 | 1.75 | 157.5 | 1 keV | 1 keV p+ | 5.69 | 0.43 | On
2026-04-23 |  | 11:33 |  | WJL | JSR | FL05 | 260423_p_1000_1084_N |  | First light data at target Deflector Plate Voltage +/- 1084 V | 88.07 | 2642 | 30 | None | 1084 | -1084 | 1800 | 0 | 0 |  |  | 800 | 0 |  | 92 | -4 | 1.75 | 157.5 | 1 keV | 1 keV p+ | 5.69 | 0.43 | On
2026-04-23 |  |  |  | WJL | JSR | FL06 | 260423_p_1000_1084_C_BAD | Rotated rotational stage axis 2 to 54.12 degrees. Data got overwritten. See FL06 2 rows down |  | 102.87 Hz |  |  | 0.6 ug/cm^2 | 1084 | -1084 | 1800 | 54.12 | 0 |  |  | 800 | 0 |  | 92 | -4 | 1.75 | 157.5 | 1 keV | 1 keV p+ | 5.69 | 0.43 | On
2026-04-23 |  | 11:44 |  | WJL | JSR | FL07 | 260423_p_1000_750_C | Ramped voltage down to 750 V in one step | Attempt to see angular scattering and charge state separation through carbon foil | 81 | 2430 | 30 | 0.6 ug/cm^2 | 750 | -750 | 1800 | 54.12 | 0 |  |  | 800 | 0 |  | 92 | -4 | 1.75 | 157.5 | 1 keV | 1 keV p+ | 5.69 | 0.43 | On
2026-04-23 |  | 11:46 |  | WJL | JSR | FL06 | 260423_p_1000_1084_C | Ramped voltage up to 1084 in one step | Same as FL06 because it got overwritten. Deflector plates back at target voltages | 97.5 | 2925 | 30 | 0.6 ug/cm^2 | 1084 | -1084 | 1800 | 54.12 | 0 |  |  | 800 | 0 |  | 92 | -4 | 1.75 | 157.5 | 1 keV | 1 keV p+ | 5.69 | 0.43 | On
2026-04-23 | 11:47 |  |  | WJL | JSR | FL08 | 260423_p_1000_500_C | Ramped voltage down to 500 V in 250V steps | Lowering Deflector Plate voltages to attempt to see charge state separation | 52.57 | 1577 | 30 | 0.6 ug/cm^2 | 500 | -500 | 1800 | 54.12 | 0 |  |  | 800 | 0 |  | 92 | -4 | 1.75 | 157.5 | 1 keV | 1 keV p+ | 5.69 | 0.43 | On
2026-04-23 | 11:51 |  |  | WJL | JSR | FL09 | 260423_p_1000_750_C_2 | Ramped voltage up to 750 V in one step | Attempt to see charge state separation | 82.9 | 2487 | 30 | 0.6 ug/cm^2 | 750 | -750 | 1800 | 54.12 | 0 |  |  | 800 | 0 |  | 92 | -4 | 1.75 | 157.5 | 1 keV | 1 keV p+ | 5.69 | 0.43 | On
2026-04-23 |  | 11:58 |  | WJL | JSR | FL10 | 260423_p_1000_1084_C_2 | Ramped voltage up to 1084 V in one step | Attempt to see charge state separation | 101.5 | 3045 | 30 | 0.6 ug/cm^2 | 1084 | -1084 | 1800 | 54.12 | 0 |  |  | 800 | 0 |  | 92 | -4 | 1.75 | 157.5 | 1 keV | 1 keV p+ | 5.69 | 0.43 | On
2026-04-23 | 11:58 |  |  | WJL | JSR | FL11 | 260423_p_1000_1084_G | Moved rotational stage Axis 2 from 54.12deg to neg 54.12 deg | Put ion beam on graphene foil for the first time! | 103.8 | 3114 | 30 | Graphene | 1084 | -1084 | 1800 | -54.12 | 0 |  |  | 800 | 0 |  | 92 | -4 | 1.75 | 157.5 | 1 keV | 1 keV p+ | 5.69 | 0.43 | On
2026-04-23 | 12:03 |  |  | WJL | JSR | FL12 | 260423_p_1000_0_G | Ramped down voltages from 1084 V to 0 V in 250 V steps | See difference between deflector plates on and off in trying to make a stripe | 5.93 | 178 | 30 | Graphene | 40 | -31 | 1800 | -54.12 | 0 |  |  | 800 | 0 |  | 92 | -4 | 1.75 | 157.5 | 1 keV | 1 keV p+ | 5.69 | 0.43 | On | [5 empty] | Open
2026-04-23 | 12:17 |  |  | WJL | JSR | DC02 | 260423_p_0_0_G_CLOSED | Rotated rotational stage back to home and closed the Beamline GV. There is some artifact at 6 o'clock on the MCP. Ion gauge? | Take a dark counts baseline | 7.42 | 2226 | 300 | None | 40 | -31 | 1800 | 0 | 0 |  |  | 800 | 0 |  | 92 | -4 | 1.75 | 157.5 | 1 keV | 1 keV p+ | 5.69 | 0.43 | On | [5 empty] | Closed
2026-04-23 |  |  |  | WJL | JSR | DC03 | 260423_p_0_0_G_CLOSED_2 | Turned off Science Chamber ion gauge | Take a real dark counts baseline without ion gauge | 0.94 | 283 | 300 | None | 40 | -31 | 1800 | 0 | 0 |  |  | 800 | 0 |  | 92 | -4 | 1.75 | 157.5 | 1 keV | 1 keV p+ | 5.69 | 0.43 | On | [5 empty] | Closed
2026-04-23 | 12:26 |  |  | WJL | LYK? | FC14 | 260423_p_1000_1084_C_3 | Rotated to carbon foil, ramped up deflector plate voltages in 250V increments, opened Beamline GV | Attempting to see charge separation through carbn | 1.27 | 380 | 300 | 0.6 ug/cm^2 | 1084 | -1084 | 1800 | 54.12 | 0 | 1E-7 Torr |  | 800 | 0 |  | 92 | -4 | 1.75 | 157.5 | 1 keV | 1 keV p+ | 5.69 | 0.43 | On | [5 empty] | Open
2026-04-23 |  |  |  | WJL | LYK | FL15 | 260423_p_1000_1084_N_2 | Increasing IS Pressure to 1E-6 Torr. Opening beamline GV. Returned rotational stage to home (no foil) 48 Hz? It looks like there is a neutral and ion component to the beam | Baseline for 1E-6 Torr on no-foil so we know how much we can increase the p-leadk by to get better statistics | 4.28 | 583 | 120 | None | 1084 | -1084 | 1800 | 0 | 0 | 1E-6 Torr |  | 800 | 0 |  | 92 | -4 | 1.75 | 157.5 | 1 keV | 1 keV p+ | 5.69 | 0.43 | On
2026-04-23 |  |  |  | WJL | LYK | FL16 | 260423_p_0_0_N | Ramped down deflector plates to 0 V in 250 V increments. Same as FL15 with exception of those deflector plates | Do we still see the little dot? Yes. Yes we do | 4.69 | 589 | 125.5 | None | 39 | -29 | 1800 | 0 | 0 | 1E-6 Torr |  | 800 | 0 |  | 92 | -4 | 1.75 | 157.5 | 1 keV | 1 keV p+ | 5.69 | 0.43 | On
2026-04-23 |  |  |  | WJL | LYK | FL17 |  |  | See count rate through the carbon foil as we increase IS pressure | 1.99 |  | 120 | 0.6 ug/cm^2 | 1084 | -1084 | 1800 | 54.12 | 0 | 5E-6 Torr |  | 800 | 0 |  | 92 | -4 | 1.75 | 157.5 | 1 keV | 1 keV p+ | 5.69 | 0.43 | On
2026-04-23 |  |  |  | WJL | LYK | FL18 |  |  | Increasing IS Pressure while staying on carbon foil | 2.97 |  |  | 0.6 ug/cm^2 | 1084 | -1084 | 1800 | 54.12 | 0 | 1.0E-5 Torr |  | 800 | 0 |  | 92 | -4 | 1.75 | 157.5 | 1 keV | 1 keV p+ | 5.69 | 0.43 | On
2026-04-23 |  |  |  | WJL | LYK | FL19 |  |  | Further increasing IS pressure while staying on carbon foil | 4.77 |  |  | 0.6 ug/cm^2 | 1084 | -1084 | 1800 | 54.12 | 0 | 2.0E-5 Torr |  | 800 | 0 |  | 92 | -4 | 1.75 | 157.5 | 1 keV | 1 keV p+ | 5.69 | 0.43 | On
2026-04-23 | 15:10 |  |  | WJL | JSR | FL20 |  | Turned ion gauge off after returning from lunch. MCP back up to 1800 V. Current 0.902 mA. Confirmed carbon foil is in the beam when we open the beamline GV | Finding the charge state separation at lower deflector plate energies | 6.11 | 733 | 120 | 0.6 ug/cm^2 | 750 | -750 | 1800 | 54.12 | 0 | 1.75E-5 Torr |  | 800 | 0 |  | 92 | -4 | 1.75 | 157.5 | 1 keV | 1 keV p+ | 5.69 | 0.43 | On |  | Open | Open |  |  | Open
2026-04-23 |  |  |  | WJL | JSR | FL21 |  | We still don't see 3 separate stripes hmm…. | Finding the charge state separation at lower deflector plate energies | 6.44 |  |  | 0.6 ug/cm^2 | 500 | -500 | 1800 | 54.12 | 0 | 1.7E-5 Torr |  | 800 | 0 |  | 92 | -4 | 1.75 | 157.5 | 1 keV | 1 keV p+ | 5.69 | 0.43 | On
2026-04-23 |  |  |  | WJL | JSR | FL22 |  | Still not seeing any movement of the stripe. | Trying to decide if we're seeing 1 stripe or 3 overlapping stripes | 5.97 |  |  | 0.6 ug/cm^2 | 250 | -250 | 1800 | 54.12 | 0 |  |  | 800 | 0 |  | 92 | -4 | 1.75 | 157.5 | 1 keV | 1 keV p+ | 5.69 | 0.43 | On
2026-04-23 |  |  |  | WJL | JSR | FL23 |  | Still not seeing any movement of the stripes! | Basically turning deflector plates off to see the stripe without any charge state separation | 5.81 | 697 |  | 0.6 ug/cm^2 | 39 | -28 | 1800 | 54.12 | 0 |  |  | 800 | 0 |  | 92 | -4 | 1.75 | 157.5 | 1 keV | 1 keV p+ | 5.69 | 0.43 | On
2026-04-23 |  |  |  | WJL | JSR | FL24 |  | Still not seeing any movement! | Increasing the deflector plate voltages to try to induce angular separation | 6.19 | 743 |  | 0.6 ug/cm^2 | 1250 | -1250 | 1800 | 54.12 | 0 |  |  | 800 | 0 |  | 92 | -4 | 1.75 | 157.5 | 1 keV | 1 keV p+ | 5.69 | 0.43 | On
2026-04-23 |  |  |  | WJL | JSR | FL25 |  |  | Increasing the deflector plate voltages again to try to induce angular separation |  |  |  | 0.6 ug/cm^2 | 2000 | -2000 | 1800 | 54.12 | 0 |  |  | 800 | 0 |  | 92 | -4 | 1.75 | 157.5 | 1 keV | 1 keV p+ | 5.69 | 0.43 | On
2026-04-23 |  |  |  | WJL | JSR | FL26 |  | Turned off the Helmholtz coil to see if we're seeing the neutral background. Conclusion: The stripe is definitely caused by the ION beam hitting the foil because with HC off we no longer see a stripe | See if we are just seeing the neutral background | 2.48 | 298 |  | 0.6 ug/cm^2 | 2000 | -2000 | 1800 | 54.12 | 0 |  |  | 800 | 0 |  | 92 | -4 | 1.75 | 157.5 | 1 keV | 1 keV p+ | 0 | 0 | Off
2026-04-23 |  |  |  | WJL | JSR | FL27 |  | Moving over to graphene foil. Helmholtz coil back on. There are no more stripes… Very quiet MCP | Determine angular scattering at target voltage on deflector plates. Through graphene! | 1.69 | 203 |  | Graphene | 1084 | -1084 | 1800 | -54.12 | 0 | 1E-5 Torr |  | 800 | 0 |  | 92 | -4 | 1.75 | 157.5 | 1 keV | 1 keV p+ | 5.69 | 0.43 | On
2026-04-23 |  |  |  | WJL | JSR | FL28 |  | Still not seeing anything at all. | Reducing voltage on deflector plates to bring the ions back? | 1.58 | 198 |  | Graphene | 750 | -750 | 1800 | -54.12 | 0 | 1E-5 Torr |  | 800 | 0 |  | 92 | -4 | 1.75 | 157.5 | 1 keV | 1 keV p+ | 5.69 | 0.43 | On
2026-04-23 |  |  |  | WJL | JSR | FL29 |  | Absolutely nothing. Maybe the graphene is blocking and not letting anything through?? | Zero deflector plate voltage to see if anything gets through the graphene at all | 1.29 |  |  | Graphene | 38 | -27 | 1800 | -54.12 | 0 |  |  | 800 | 0 |  | 92 | -4 | 1.75 | 157.5 | 1 keV | 1 keV p+ | 5.69 | 0.43 | On
2026-04-23 |  |  |  | WJL | JSR | FL30 |  | Increased beam energy to 4 keV proton. Ready to close beamline GV if needed. | Trying to punch through the graphene with a higher energy beam since we're not seeing anything | 1.18 |  |  | Graphene | 39 | -28 | 1800 | -54.12 | 0 |  |  | 3200 | 0 |  | 95 | -4 | 1.75 | 315 | 4 keV | 4 keV p+ | 5.69 | 0.43 | On
2026-04-23 |  |  |  | WJL | JSR | FL31 |  | 4 keV protons on carbon to see if we fried the MCP… We did not! We see an elliptical distribution!!! Lower angular scattering with higher beam energy as expected! | Returning to carbon where we know what the output is supposed to look like. Verifying that we didn't fry the MCP. Expecting to see a stripe on the MCP | 20.6 |  |  | 0.6 ug/cm^2 | 39 | -28 | 1800 | 54.12 | 0 |  |  | 3200 | 0 |  | 95 | -4 | 1.75 | 315 | 4 keV | 4 keV p+ | 5.69 | 0.43 | On
2026-04-23 |  |  |  | WJL | JSR | FL32 |  | 1 keV proton on carbon with no deflector voltages just to reestablish our results from earlier | Returning to 1 keV proton on carbon with no deflector voltages to reestablish our results from earlier | 5.68 | 682 |  | 0.6 ug/cm^2 | 39 | -28 | 1800 | 54.12 | 0 |  |  | 800 | 0 |  | 92 | -4 | 1.75 | 157.5 | 1 keV | 1 keV p+ | 5.69 | 0.43 | On
2026-04-23 |  |  |  | WJL | JSR | FL33 |  | Changed p-leak so that the IS Pressure is 7.3E-7 Torr. We see the dot as expected | Sanity check to make sure the deflector plates still work. Starting at "0"V on the deflectors and will ramp up in the next test | 10.51 |  |  | None | 39 | -28 | 1800 | 0 | 0 | 7.3E-7 Torr |  | 800 | 0 |  | 92 | -4 | 1.75 | 157.5 | 1 keV | 1 keV p+ | 5.69 | 0.43 | On
2026-04-23 |  |  |  | WJL | JSR | FL34 |  | Ramped voltages back up to +/- 1084 V, we see the dot moves! Maybe we get some neutral scattering from the interaction with the nickel grid? The deflectors are still working! | Verifying that the deflector plates still work. | 8.5 |  |  | None | 1084 | -1084 | 1800 | 0 | 0 |  |  | 800 | 0 |  | 92 | -4 | 1.75 | 157.5 | 1 keV | 1 keV p+ | 5.69 | 0.43 | On
2026-04-23 |  |  |  | WJL | JSR | FL35 |  | The dot moves closer to the middle as expected! | Moving the dot further away from the edge to see if the central dot is caused by scattering | 8.61 |  |  | None | 750 | -750 | 1800 | 0 | 0 | 5E-7 Torr |  | 800 | 0 |  | 92 | -4 | 1.75 | 157.5 | 1 keV | 1 keV p+ | 5.69 | 0.43 | On

## Day 2 Testing
Date | Start Time (EST) | Stop Time (EST) | Total Test Time (hh:mm) | GEMINI Operator Name | Facility Operator Name | Filename | Converted Filename | ACTIONS / STATUS | Test Objective | Count Rate (Hz) | Counts (n) | Dwell Time (s) | Foil | North Deflector Voltage (V) | South Deflector Voltage (V) | MCP Voltages (V) | Rotational Stage (Axis 2) (deg) | Linear Stage (Axis 3) | IS Pressure (Torr) | IT Pressure (Torr) | Focus 1 | Focus 2 | Emission current (mA) | Ext (%) | Px (mm) | Py (mm) | Wien Filter Plate Potential | Energy | Ion Source Energy & Species | Helmholtz Coil Voltage (V) | Helmholtz Coil Current (A) | Helmholtz Coil Status (On/Off) | BM Status | SC Gate Valve | MC Gate Valve | Science Chamber Pressure (Torr) | Main Chamber Pressure (Torr) | Beamline Gate Valve | Comments
2026-04-24 | 9:15 | 9:20 |  | WJL | LYK | DC04 |  | Turned SC ion gauge off, closed Beamline GV, MCP at 1800 V | Dark counts test to get the background rate before we start the day | 1.09 | 328 | 300 | None | 0 | 0 |  | 0 |  | 1e-06 |  | 800 | 0 |  | 92 | -4 | 1.75 | 157.5 | 1 keV | 1 keV p+ | 5.67 | 0.43 | On | Off | Open | Open |  | 3.2e-08 | Closed
|  |  |  | WJL | LYK | E01 |  | Seeing a stripe but a lot less defined than yesterday because the IS pressure is lower | Baseline for beam through carbon foil without deflector plates on | 1.89 |  | 120 | Carbon | 0 | 0 |  | 54.12 |  | 1e-06 |  | 800 | 0 |  | 92 | -4 | 1.75 | 157.5 | 1 keV | 1 keV p+ | 5.67 | 0.43 | On |  | Open | Open |  |  | Open
|  |  |  | WJL | LYK | E02 |  | Maybee a stripe on the left face | Turning north deflector plate on to separate electrons | 2.07 |  | 120 | Carbon | 5.01 | 0 |  | 54.12 |  | 1e-06 |  | 800 | 0 |  | 92 | -4 | 1.75 | 157.5 | 1 keV | 1 keV p+ | 5.67 | 0.43 | On |  | Open | Open |  |  | Open
|  |  |  | WJL | LYK | E03 |  | Closed beamline GV before increasing IS pressure to 1E-5 Torr to get more counts | Increasing IS pressure with same parameters as E02 to get a more defined electron emission line | 3.95 |  | 120 | Carbon | 5.01 | 0 |  | 54.12 |  | 1.1e-05 |  | 800 | 0 |  | 92 | -4 | 1.75 | 157.5 | 1 keV | 1 keV p+ | 5.67 | 0.43 | On |  | Open | Open |  |  | Open
|  |  |  | WJL | LYK | E04 |  | Increased deflector plate voltage to 6.01 V | Increasing deflector plate voltage to separate out secondary electrons | 4.39 |  | 120 | Carbon | 6.01 | 0 |  | 54.12 |  | 1.1e-05 |  | 800 | 0 |  | 92 | -4 | 1.75 | 157.5 | 1 keV | 1 keV p+ | 5.67 | 0.43 | On |  | Open | Open |  |  | Open
|  |  |  | WJL | LYK | E05 |  | Increased IS pressure to 2E-5 Torr because right now the highest pixel is 5 Hz so we might not be able to distinguish electrons from background counts. We think we might see a group of electrons! Not a stripe but could be due to asymmetry in the instrument. | Binary search to find where the secondary electron stripe is | 6.52 |  | 120 | Carbon | 6.01 | 0 |  | 54.12 |  | 2e-05 |  | 800 | 0 |  | 92 | -4 | 1.75 | 157.5 | 1 keV | 1 keV p+ | 5.67 | 0.43 | On |  | Open | Open |  |  | Open
| 9:51 |  |  | WJL | LYK | E06 |  | We no longer see the cluster of maybe electrons!! Did we sweep it off the MCP by increasing the deflector plate voltage? Maybe. The count rate went down though | Binary search to find where the secondary electron stripe is | 6.75 |  | 120 | Carbon | 10.01 | 0 |  | 54.12 |  | 2e-05 |  | 800 | 0 |  | 92 | -4 | 1.75 | 157.5 | 1 keV | 1 keV p+ | 5.67 | 0.43 | On |  | Open | Open |  |  | Open
| 9:54 |  |  | WJL | LYK | E07 |  | We do not see the cluster | Reducing deflector plate voltage to see if we bring back the (potential) secondary electron cluster | 7.34 |  | 120 | Carbon | 8.01 | 0 |  | 54.12 |  | 2e-05 |  | 800 | 0 |  | 92 | -4 | 1.75 | 157.5 | 1 keV | 1 keV p+ | 5.67 | 0.43 | On |  | Open | Open |  |  | Open
| 9:58 |  |  | WJL | LYK | E08 |  | We do not see the cluster | Reducing deflector plate voltage again to try to bring back the secondary electrons | 6.78 |  | 120 | Carbon | 7 | 0 |  | 54.12 |  | 2e-05 |  | 800 | 0 |  | 92 | -4 | 1.75 | 157.5 | 1 keV | 1 keV p+ | 5.67 | 0.43 | On |  | Open | Open |  |  | Open
| 10:01 |  |  | WJL | LYK | E09 |  | No cluster | Reducing deflector plate voltage in finer steps to try to bring back the secondary electrons | 7.42 |  | 120 | Carbon | 6.51 | 0 |  | 54.12 |  | 2e-05 |  | 800 | 0 |  | 92 | -4 | 1.75 | 157.5 | 1 keV | 1 keV p+ | 5.67 | 0.43 | On |  | Open | Open |  |  | Open
| 10:03 |  |  | WJL | LYK | E10 |  | There was a small cluster maybe but probably just statistics and not in the same x position as before | Returning to 6 V to see if the cluster was just statistics :( | 7.05 |  | 120 | Carbon | 6.01 | 0 |  | 54.12 |  | 2e-05 |  | 800 | 0 |  | 92 | -4 | 1.75 | 157.5 | 1 keV | 1 keV p+ | 5.67 | 0.43 | On |  | Open | Open |  | 3.4e-08 | Open
| 10:07 |  |  | WJL | LYK | E11 |  | Just a stripe | Reducing deflector plate voltage even further to try to see the secondary electrons | 7.42 |  | 120 | Carbon | 5.01 | 0 |  | 54.12 |  | 2e-05 |  | 800 | 0 |  | 92 | -4 | 1.75 | 157.5 | 1 keV | 1 keV p+ | 5.67 | 0.43 | On |  | Open | Open |  | 3.4e-08 | Open
| 10:10 |  |  | WJL | LYK | E12 |  | Just a stripe | Reducing deflector plate voltage further to try to see secondary electrons | 7.77 |  | 120 | Carbon | 4.01 | 0 |  | 54.12 | [12 empty] | 5.67 | 0.43 | On
| 10:12 |  |  | WJL | LYK | E13 |  | Just a stripe | Ramping deflector plate voltage down to see if we see anything interesting | 7.1 |  | 120 | Carbon | 3.01 | 0 |  | 54.12 | [12 empty] | 5.67 | 0.43 | On
| 10:15 |  |  | WJL | LYK | E14 |  | Just a stripe | Ramping deflector plate voltage down to see if we see anything interesting | 7.68 |  | 120 | Carbon | 2.01 | 0 |  | 54.12 | [12 empty] | 5.67 | 0.43 | On
| 10:17 |  |  | WJL | LYK | E15 |  |  | Ramping deflector plate voltage down to see if we see anything interesting | 8.07 |  | 120 | Carbon | 1 | 0 |  | 54.12 | [12 empty] | 5.67 | 0.43 | On
| 10:20 |  |  | WJL | LYK | E16 |  |  | Ramping deflector plate voltage down to see if we see anything interesting | 7.72 |  | 120 | Carbon | 0 | 0 |  | 54.12 | [12 empty] | 5.67 | 0.43 | On
| 10:25 |  |  | WJL | LYK | E17 |  | Closed beamline GV before rotrating to graphene, set deflector plate voltage to 4 V. Do not see anything. Looks just like random noise | Searching for secondary electron emission from graphene | 2.27 |  | 120 | Graphene | 4 | 0 |  | -54.12 |  | 1.9e-05 | [10 empty] | 5.67 | 0.43 | On
| 10:28 |  |  | WJL | LYK | E18 |  | Maybeee there is a little cluster? But graphene has low secondary electron yield | Searching for secondary electron emission from graphene | 2.62 |  | 120 | Graphene | 5.01 | 0 |  | -54.12 |  | 1.9e-05 | [10 empty] | 5.67 | 0.43 | On
| 10:30 |  |  | WJL | LYK | E19 |  |  | Still searching for secondary electron emission from graphene | 2.37 |  | 120 | Graphene | 6 | 0 |  | -54.12 |  | 1.9e-05 | [10 empty] | 5.67 | 0.43 | On
| 10:36 |  |  | WJL | LYK | E20 |  | Increased beam energy to 4 keV and also bumped the IS pressure a litle bit because it has been pumping down | Searching for secondary electron emission from grapheneat a higher beam energy | 3.63 |  | 120 | Graphene | 6 | 0 |  | -54.12 |  | 2.3e-05 | [8 empty] | 4 keV | 4 keV p+ | 5.67 | 0.43 | On
| 10:38 |  |  | WJL | LYK | E21 |  | Still nothing | Searching for secondary electron emission from grapheneat a higher beam energy | 3.52 |  | 120 | Graphene | 5.01 | 0 |  | -54.12 |  | 2.3e-05 | [12 empty] | On
| 10:41 |  |  | WJL | LYK | E22 |  | Still seeing nothing | Searching for secondary electron emission from grapheneat a higher beam energy | 3.57 |  | 120 | Graphene | 4.01 | 0 |  | -54.12 |  | 2.3e-05 | [12 empty] | On
|  |  |  | WJL | LYK | E23 |  | Closed beamline GV and moved foil to carbon in front of the beam. Then opened beamline GV | Searching for secondary electron emission from graphene through amorphous carbon | 30.07 |  | 120 | Carbon | 4 | 0 |  | 54.12 |  | 2.3e-05 | [12 empty] | On
| 10:52 |  |  | WJL | LYK | E24 |  | We are getting about 30 Hz now in the core of the ellipse so we expect 3 Hz (10%) in the secondary electron stripe (which we are still not seeing) | Searching for secondary electron emission from graphene | 30.14 |  | 120 | Carbon | 5.01 | 0 |  | 54.12 |  | 2.3e-05 | [12 empty] | On
| 10:56 |  |  | WJL | LYK | E25 |  | Still no separation | Still searching for secondary electron emission from graphene | 30.96 |  | 120 | Carbon | 6.01 | 0 | [16 empty] | On
| 11:03 |  |  | WJL | LYK | E26 |  | Still no separation | Upping the deflector plate voltage. Maybe the secondary electrons are higher energy? | 29.63 |  | 120 | Carbon | 10.01 | 0 | [16 empty] | On
| 11:10 |  |  | WJL | LYK | S01 |  | Ok we are switching test campaigns now. We will keep the 4 keV p+ beam but now attempt to steer the charge state populations with better statistics. The charge state separation works! | HVPS on North and South at 3000 V!!! | 31.36 |  | 120 | Carbon | 3000 | -3000 |  | 54.12 |  | 2.2e-05 | [12 empty] | On
|  |  |  | WJL | LYK | S02 |  | Increased deflector plate voltage even more to 3500 V! | Prove that increasing deflector plate voltage increases steering gap | 31.64 |  | 120 | Carbon | 3500 | -3500 |  | 54.12 |  | 2.2e-05 | [12 empty] | On
| 11:18 |  |  | WJL | LYK | S03 |  | Decrease deflector plate voltages to 2500 V | Decrease deflector plate voltages to 2500 V to prove reducing steering gap | 31.86 |  | 120 | Carbon | 2500 | -2500 |  | 54.12 |  | 2.2e-05 | [12 empty] | On
| 11:20 |  |  | WJL | LYK | S04 |  | Dwelling for 5 minutes to get good statistics |  | 31.34 |  | 300 | Carbon | 3000 | -3000 |  | 54.12 |  | 2.2e-05 | [12 empty] | On
[6 empty] | G01 |  | Turning on Matsusada to float the beam up to 16 keV. Going up in 1 keV steps. Hypothesis to see what the stopping power of graphene is. Actual beamline voltage | [8 empty] | -54.12 | [10 empty] | 16 keV |  |  |  | On
On
On
On
On
On
On

## Ion Source and HC Parameters
Ion Source Status | Ion Source Species | Energy | Wien Filter Potential | Focus 1 | Focus 2 | Emission current (mA) | Ext (%) | Px (mm) | Py (mm) | HC Status | HC Parameters for SWAPI
Ignition | Ar+ | 3keV | 43.3 | 2400 | 0 | 5 | 95 | 0 | 0 |  | HC Current (A) | HC Voltage (V)
GEMINI Cal beam | p+ | 200 eV | [7 empty] | On | 0.66 | ~9.13
GEMINI Cal beam | p+ | 300 eV | [7 empty] | Off | x | x
GEMINI Cal beam | p+ | 400 eV
GEMINI Cal beam | p+ | 500 eV
GEMINI Cal beam | p+ | 750 eV
GEMINI Cal beam | p+ | 1 keV
GEMINI Cal beam | p+ | 1.25 keV
GEMINI Cal beam | p+ | 1.5 keV
GEMINI Cal beam | p+ | 1.75 keV
GEMINI Cal beam | p+ | 2 keV
GEMINI Cal beam | p+ | 2.25 keV
GEMINI Cal beam | p+ | 2.5 keV
GEMINI Cal beam | p+ | 2.75 keV
GEMINI Cal beam | p+ | 3 keV
GEMINI Cal beam | He+ | 200 eV
GEMINI Cal beam | He+ | 300 eV
GEMINI Cal beam | He+ | 400 eV
GEMINI Cal beam | He+ | 500 eV
GEMINI Cal beam | He+ | 750 eV
GEMINI Cal beam | He+ | 1 keV
GEMINI Cal beam | He+ | 1.25 keV
GEMINI Cal beam | He+ | 1.5 keV
GEMINI Cal beam | He+ | 1.75 keV
GEMINI Cal beam | He+ | 2 keV
GEMINI Cal beam | He+ | 2.25 keV
GEMINI Cal beam | He+ | 2.5 keV
GEMINI Cal beam | He+ | 2.75 keV
GEMINI Cal beam | He+ | 3 keV
GEMINI Cal beam | Ar+ | 200 eV
GEMINI Cal beam | Ar+ | 300 eV
GEMINI Cal beam | Ar+ | 400 eV
GEMINI Cal beam | Ar+ | 500 eV
GEMINI Cal beam | Ar+ | 750 eV
GEMINI Cal beam | Ar+ | 1 keV
GEMINI Cal beam | Ar+ | 1.25 keV
GEMINI Cal beam | Ar+ | 1.5 keV
GEMINI Cal beam | Ar+ | 1.75 keV
GEMINI Cal beam | Ar+ | 2 keV
GEMINI Cal beam | Ar+ | 2.25 keV
GEMINI Cal beam | Ar+ | 2.5 keV
GEMINI Cal beam | Ar+ | 2.75 keV
GEMINI Cal beam | Ar+ | 3 keV
GEMINI Cal beam | H2+ | 200 eV
GEMINI Cal beam | H2+ | 300 eV
GEMINI Cal beam | H2+ | 400 eV
GEMINI Cal beam | H2+ | 500 eV
GEMINI Cal beam | H2+ | 750 eV
GEMINI Cal beam | H2+ | 1 keV
GEMINI Cal beam | H2+ | 1.25 keV
GEMINI Cal beam | H2+ | 1.5 keV
GEMINI Cal beam | H2+ | 1.75 keV
GEMINI Cal beam | H2+ | 2 keV
GEMINI Cal beam | H2+ | 2.25 keV
GEMINI Cal beam | H2+ | 2.5 keV
GEMINI Cal beam | H2+ | 2.75 keV
GEMINI Cal beam | H2+ | 3 keV
GEMINI Test (MM/DD/YYYY)
IS Pressure | MCP Total Counts | Beam + Species | Wien Filter Potential | Focus 1 | Focus 2 | Emission current (mA) | Ext (%) | Px (mm) | Py (mm)
`